## Sheet1
C | Sl | Item Specification | Component | Subcomponent | Detail | Specification offered with Make & Model no. You may attach separate sheet(s) if required. (Write N/A for Not Applicable) | Is there a deviation from mentioned specification? (Fill response as YES/NO) | Remark (in case of deviation)
1 | 1 | CCF facility | Access through IIIT-A LAN of 10 Gbps with failover support
2 |  |  | Access through CCF seating area LAN of 10 GbE with failover support
3 |  |  | Proposed PUE (calculated as per tender)
4
5 | 2 | HPC Facility | Service Nodes | Processor
6 |  |  |  | Memory
7 |  |  |  | RAID
8 |  |  |  | Disks
9 |  |  |  | Optical Disk
10 |  |  |  | Interconnect | 1x100 Gbps (or higher) low latency interconnect for compute network
11 |  |  |  |  | 2x10 GbE (RJ45) backward compatible with 1000Base-T for user access (with failover support)
12 |  |  |  | Management | On-board IPMI 2.0 with dedicated LAN and KVM over LAN support
13 |  |  |  | Expansion
14 |  |  |  | Ports
15 |  |  |  | Form Factor
16 |  |  |  | Power Supplies
17 |  |  |  | Quantity of Service Nodes
18 |  |  | CPU Compute Nodes | Processor
19 |  |  |  | Memory
20 |  |  |  | Disks
21 |  |  |  | Interconnect | 1x100 Gbps (or higher) low latency interconnect for compute network
22 |  |  |  | Management | On-board IPMI 2.0 with dedicated LAN and KVM over LAN support
23 |  |  |  | Expansion
24 |  |  |  | Form Factor
25 |  |  |  | Power Supplies
26 |  |  |  | Quantity of Compute Nodes
27 |  |  | GPU Compute Nodes (Type 1) | Processor
28 |  |  |  | GPU
29 |  |  |  | Memory
30 |  |  |  | Disks
31 |  |  |  | Interconnect | 1x100 Gbps (or higher) low latency interconnect for compute network
32 |  |  |  | Management | On-board IPMI 2.0 with dedicated LAN and KVM over LAN support
33 |  |  |  | Form Factor
34 |  |  |  | Power Supplies
35 |  |  |  | Quantity of GPU Compute Nodes (Type 1)
36 |  |  | Parallel File System | Type of PFS with 450 TB usable storage.
37 |  |  |  | Throughput for read as well as write operations.
38 |  |  |  | No. of MDS
39 |  |  |  | No. of OSS
40 |  |  |  | No. of MDT
41 |  |  |  | No. of OST
42 |  |  |  | RAID for MDS
43 |  |  |  | RAID for OSS
44 |  |  |  | RAID for MDT
45 |  |  |  | RAID for OST
46 |  |  |  | Usable MDT
47 |  |  |  | Connectivity to the HPC and Big Data
48 |  |  |  | No SPOF
49 |  |  |  | % hot spare availability for storage
50 |  |  |  | Type of management GUI to monitor status of the storage system like performance, throughput, network connection, controller health, etc.
51 |  |  |  | Quantity of PFS
52 |  |  | Communication Network | Compute Network | 1x100 Gbps (or higher) low latency interconnect for compute network
53 |  |  |  | Management Network | On-board IPMI 2.0 with dedicated LAN and KVM over LAN support (1Gbps)
54 |  |  | Software and Installation | OS
55 |  |  |  | Job Scheduler | Job monitoring and management
56 |  |  |  |  | Workload cum resource manager with policy-aware, resource-aware and topology-aware scheduling
57 |  |  |  |  | Advance reservation support
58 |  |  |  |  | Heterogeneous cluster support
59 |  |  |  |  | Multi-cluster support
60 |  |  |  |  | Pre-emptive and backfill scheduling support
61 |  |  |  |  | Application integration support
62 |  |  |  |  | Live reconfiguration capability
63 |  |  |  |  | Interactive job scheduling
64 |  |  |  |  | GPU aware scheduling
65 |  |  |  |  | Support to utilize NVidia dockers for various computations, especially Deep Learning NGC Dockers (to perform TensorRT based computations, etc.) on GPU compute nodes.
66 |  |  |  |  | Policy based resource allocation
67 |  |  |  |  | Modules support for maintaining multiple version of softwareUsage accounting & reporting with total utilization of resource.
69 |  |  |  |  | Restrict user login to compute nodes
70 |  |  |  | HPC Management | Cluster manager with provisioning, monitoring and reporting capabilities
71 |  |  |  |  | Support Package and Image based provisioning
72 |  |  |  |  | Support Disk and diskless cluster deployment
73 |  |  |  |  | Intuitive web interface to manage and customize the cluster
74 |  |  |  |  | Customizing networks and compute node profiles
75 |  |  |  |  | Customizing compute nodes to max, up to changing kernel parameter
76 |  |  |  |  | Able to push configuration changes and updates to the compute nodes without reinstalling and rebooting
77 |  |  | Libraries | OpenMPI
78 |  |  |  | MVAPICH
79 |  |  |  | Intel MPI
80 |  |  |  | Blas 1,2,3
81 |  |  |  | Lapack
82 |  |  |  | Scalapac
83 |  |  |  | Intel MKL
84 |  |  |  | Intel DAAL
85 |  |  | Software/compilers | Intel Parallel Studio XE with 5 user floating licenses
86 |  |  |  | GNU Compilers
87 |  |  |  | AMBER (with academic license)
88
89 | 3 | Big Data Computing Facility | Name Nodes | Processor
90 |  |  |  | Memory
91 |  |  |  | RAID and Disks
92 |  |  |  | Optical Disk
93 |  |  |  | Interconnect | 1x100 Gbps (or higher) low latency interconnect for compute network
94 |  |  |  |  | 2x10 GbE (RJ45) backward compatible with 1000Base-T for user access (with failover support)
95 |  |  |  | Management | On-board IPMI 2.0 with dedicated LAN and KVM over LAN support
96 |  |  |  | Ports
97 |  |  |  | Form Factor
98 |  |  |  | Power Supplies
99 |  |  |  | Quantity of Name Nodes
100 |  |  | Login Nodes | Processor
101 |  |  |  | Memory
102 |  |  |  | RAID and Disks
103 |  |  |  | Optical Disk
104 |  |  |  | Interconnect | 1x100 Gbps (or higher) low latency interconnect for compute network
105 |  |  |  |  | 2x10 GbE (RJ45) backward compatible with 1000Base-T for user access (with failover support)
106 |  |  |  | Management | On-board IPMI 2.0 with dedicated LAN and KVM over LAN support
107 |  |  |  | Ports
108 |  |  |  | Form Factor
109 |  |  |  | Power Supplies
110 |  |  |  | Quantity of Login Nodes
111 |  |  | Data Nodes | Processor
112 |  |  |  | Memory
113 |  |  |  | Disks
116 |  |  |  | Interconnect | 1x100 Gbps (or higher) low latency interconnect for compute network
117 |  |  |  | Management | On-board IPMI 2.0 with dedicated LAN and KVM over LAN support
118 |  |  |  | Ports
119 |  |  |  | Form Factor
120 |  |  |  | Power Supplies
121 |  |  |  | Quantity
122 |  |  | Communication Network | Compute Network | To share with 100Gbps Interconnect with the HPC
123 |  |  |  | Management Network | To share with HPC
124 |  |  | Software/ Installation | OS
125 |  |  |  | Installation | Ambari
126 |  |  |  |  | Avro
127 |  |  |  |  | Drill
128 |  |  |  |  | Flume
129 |  |  |  |  | GIS tools for Hadoop
130 |  |  |  |  | HBase
131 |  |  |  |  | HCatalog
132 |  |  |  |  | Hive
133 |  |  |  |  | Mahout
134 |  |  |  |  | MapReduce
135 |  |  |  |  | Oozie
136 |  |  |  |  | Pig
137 |  |  |  |  | Spark
138 |  |  |  |  | Sqoop
139 |  |  |  |  | Thrift
140 |  |  |  |  | YARN
141 |  |  |  |  | Zookeeper
142
143 | 4 | Cloud Computing Facility | Cloud Controller | Processor
144 |  |  |  | Memory
145 |  |  |  | RAID
146 |  |  |  | Disks
147 |  |  |  | Optical Disk
148 |  |  |  | Interconnect | 2x10 Gigabit (RJ45), 1000Base-T backward compatible (for data sync and VM network)
149 |  |  |  | Management | On-board IPMI 2.0 with dedicated LAN and KVM over LAN support
150 |  |  |  | Expansion
151 |  |  |  | Ports
152 |  |  |  | Form Factor
153 |  |  |  | Power Supplies
154 |  |  |  | Quantity of Cloud Controller
155 |  |  | Converged Cloud Nodes (Compute + Storage) | Processor
156 |  |  |  | Memory
157 |  |  |  | RAID
158 |  |  |  | NVMe
159 |  |  |  | Disks
162 |  |  |  | Interconnect | 2x10 Gigabit (RJ45), 1000Base-T backward compatible (for data sync and VM network)
163 |  |  |  | Management | On-board IPMI 2.0 with dedicated LAN and KVM over LAN support
164 |  |  |  | Expansion
165 |  |  |  | Ports
166 |  |  |  | Form Factor
167 |  |  |  | Power Supplies
169 |  |  |  | Quantity
170 |  |  | Cloud Backup | Processor
171 |  |  |  | Memory
172 |  |  |  | RAID
173 |  |  |  | Disks
176 |  |  |  | Interconnect | 2x10 Gigabit (RJ45), 1000Base-T backward compatible (for data sync and VM network)
177 |  |  |  | Management | On-board IPMI 2.0 with dedicated LAN and KVM over LAN support (1 Gbps)
178 |  |  |  | Expansion
179 |  |  |  | Ports
180 |  |  |  | Form Factor
181 |  |  |  | Power Supplies
183 |  |  |  | Quantity
184 |  |  | Communication Network | 10 GbE Primary network
185 |  |  |  | Quantity of 10 GbE Network
186 |  |  |  | 1 GbE Management network
187 |  |  |  | Quantity of GbE Network
188 |  |  | Software/ Installation | The tenderer has to implement/install/configure complete turnkey private cloud solution (on-premises)
189 |  |  |  | 150TB usable and resilient storage (expandable to 360TB) for 30 concurrent users
190 |  |  |  | Expandable to 60 users with as much resource as available for 30 users initially
191 |  |  |  | Licensed S/W Platform for Counting / Cloud Controller, Converged Cloud Nodes, and Cloud Back Up Nodes.
192 |  |  |  | Additional support | Support for multi-tenancy
193 |  |  |  |  | Self-service portal
194 |  |  |  |  | Readily deployable templates
195 |  |  |  |  | Ability to assign control and empower different users with access rights and control of their allocated assets
196 |  |  |  |  | Infrastructure as a Service
197 |  |  |  |  | Storage as a Service
198 |  |  |  |  | Deploy VMs on 2 nodes
199 |  |  |  |  | Build and deploy LXC & LXD containers
200 |  |  |  |  | Build and deploy Docker and Docker Swarms on 2 nodes with Business Day license and with Docker Community Edition on 2 other nodes.
201 |  |  |  |  | In case of failure of physical resource, automatic migration of VMs and containers to other available physical resources
202 |  |  |  |  | Cloud metering
203 |  |  |  |  | Ability to use Docker containers within VMs and LXDs
204
205 | 5 | Cooling Solution | High Density and energy efficient precision cooling units with N+1 redundancy at the physical unit level to cater minimum 70KW operating power from day 1. Cooling provided by the redundant /stand by unit not to be the part of estimated capacity of cooling solution.
206 |  |  | Indoor and outdoor units shall be connected with copper piping work.
207 |  |  | Outdoor Cooling Units, if any, shall be positioned on top of the building.
208 |  |  | The High Density cooling system to be supplied should cater to 70KW of IT load at the present from the day 1.
209 |  |  | Temperature should be 24C within 10% margin
211
212 | 6 | Power Backup Solution | 100 KVA standalone, online double conversion, 3 phase UPS with full (N+N) redundancy, and 30 minutes of Run-Time (power backup) on each UPS under full load.
213 |  |  | Industrial grade battery bank that is sealed and maintenance free.
214 |  |  | SNMP control, high power factor (0.9 or more), high efficiency (0.92 or more), sine wave output.
215 |  |  | Electrical system with essential high quality MCB and cables for UPS and Rack shall be set up.
216 |  |  | Should support capacity addition by 50 KVA in future.
217
218 | 7 | Server Room | No. of racks (each with its one set of KVM/Console) to distribute the IT equipement being supplied (excluding possible optional items)
219 |  |  | Power rating for additonal racks (for old IIIT-A servers) with their own KVM unit/console
220 |  |  | Types of sensors for monitoring the server room
221 |  |  | Raw power required to deliver 100 KVA through UPS to the CCF Server Room
222 |  |  | Rodent control measures
223 |  |  | Fire detection and supression measures
224
225 | 8 | Optional Items | Prices of all optional items as asked are to be included in the financial bid. |  |  | (Undertaking to be attached)
226
227 | 9 | Prequalification Criteria | Bidder | Is registered under the Companies Act, 1956 or a registered firm with a registered office in India. |  | (Documentary proof to be attached)
228 |  |  |  | Server OEM/ Server OEM authorized bidder. |  | (Documentary proof to be attached)
229 |  |  |  | Implemented and maintained at least for one year a 50 TFLOPS or higher capacity HPC system at least at one customer site. |  | Appropriate documentary evidence with a letter from the customer reporting the details of the maintenance/ management responsibilities and the performance of the bidder should also be included in the technical bid of the proposal.
230 |  |  |  | Authorized bidder for Storage, Cooling, UPS and Fabric OEMs. |  | Valid and duly authorized Manufacturer Authorization Certificate from the respective OEMs in the name of Participating System Integrator (SI)/Bidder must be submitted at the time of submission of Bids. These include documents from Server, Storage, Cooling, UPS and Fabric OEMs.
231 |  |  |  | Demarcation of responsibilities between the bidder and the various OEMs. |  | The technical bid should clearly demarcate the responsibilities between the bidder and the various OEMs. Complete details of the same have to be submitted with the bid.
232 |  |  |  | Bidder, along with their Server OEM, have demonstrated their competence and capability as a team, to deliver turnkey facility and in providing services similar to the one expected during the contract period. |  | (Documentary proof to be attached)
233 |  |  |  | Annual turn-over of the bidder in each of the last 3 financial years. |  | (Documentary proof to be attached)
234 |  |  |  | Bidder has not been blacklisted by any Central/State Government Department/ Organization and educational institutes. |  | (Undertaking to be attached)
235 |  |  | Server OEM | Server Original Equipment Manufacturer (OEM) brand is listed in latest Top500.org list. |  | (Documentary proof to be attached)
236 |  |  |  | Server OEM must have installed at least 5 InfiniBand/OPA fabric based HPC Clusters in India, including at least 2 for Government organisations during the last 5 years. These HPC clusters should have CPU-CPU performance of 25 TFLOPS or higher. |  | (Documentary proof to be attached)
237 |  |  | Storage OEM | Storage OEM should have installed at least 1 PFS storage of size 400 TB. |  | (Documentary proof to be attached)
238 |  |  |  | Storage OEM installed at least 3 PFS based storage systems of 40TB in size as part of HPC in India at Government Education and Research Organisations. |  | (Documentary proof to be attached)
239 |  |  | Cooling Solution OEM | Cooling Solution OEM has prior installation base (still active sites) in Northern part of India. |  | (Documentary proof to be attached)
240 |  |  |  | OEM has at least 7 years of working experience in India and in house manufacturing facility. |  | (Documentary proof to be attached)
241 |  |  |  | Is of reputed brand with ISO 9001, 14001 certifications and have supplied cooling solution for at least 2 Server Data centres (with minimum 40 Server Nodes) in the last 5 years at Government Research organisations. |  | (Documentary proof to be attached)
242 |  |  | Power Backup OEMs (UPS and DG set) | The OEM for UPS is from globally reputed brands with ISO 9001, 14001 certifications. |  | (Documentary proof to be attached)
243 |  |  |  | Is CE compliant. |  | (Documentary proof to be attached)
244 |  |  |  | OEM has supplied UPS solution for Data Centres in India at least at 3 Govt Organisations. |  | (Documentary proof to be attached)
245 |  |  |  | The proposed silent DG set should conform to ISO 8528 specifications and the engine to BS 5514/ISO 3046. |  | (Documentary proof to be attached)
246 |  |  |  | The OEM for DG set should have multinational (MNC) IT and ITeS clients in India. |  | (Documentary proof to be attached)
247 |  |  | Unspecified but necessary component in the bid | At the time of installation, if it is found that some additional hardware or software items are required to meet the operational requirement of the configuration, but not included in the Bidder's original list of deliverables, the Bidder shall supply such items to ensure the completeness of the configuration at no extra cost. |  | (Undertaking to be attached)
248 |  |  | Right to decline applications/suggestions | IIIT-A reserves all the rights to accept or reject any applications/suggestions without assigning any reasons whatsoever. |  | (Undertaking to be attached)
249
250 | 10 | Acceptance Criteria | The Bidder agrees to abide by all the acceptance criteria listed in the tender and agrees to annul any conflicting clauses, criteria, etc., that may be listed in the Financial Bid or in Bidder's own terms and conditions |  |  | (Undertaking to be attached)
251
252 | 11 | Service Level Agreement, Warranty and AMC | The Bidder agrees to abide by all the criteria listed under Service Level Agreement, Warranty and AMC in the tender and agrees to annul any conflicting clauses, criteria, etc., that may be listed in the Financial Bid or in Bidder's own terms and conditions |  |  | (Undertaking to be attached)
253
254 | 12 | Any other item missing above but required as per tender